  - Provide a fire sprinkler (typically a dry horizontal sidewall piped thru the wall) above the door to the Trash Compactor for protection of the trash chute/slide. Include a sign on or near the door indicating “This Door to Remain Closed when Not in Use by Order of State Fire Marshal”.